# Double focusing cylindrical reflectron

## D. Ioanoviciu, C. Cuna, V. Cosma, I. Albert, Edina Szilagyi

National Institute for Research Development of Isotopic and Molecular Technologies

Intended primarily for the detection of trace electronegative substances, the double focusing cylindrical reflectron is a design conceived directed to attain high sensitivity. The simultaneous ion packet focusing longitudinally and laterally achieves this goal. The conditions to be satisfied are disclosed. Based on this theoretical background an experimental model was designed to prove the principle demonstrated theoretically. The basic geometric and technical features of this experimental device are described.